## 3.25
CERC # | Field/Lab ID | Sample Type | Date | Units | Temperature | Li | Be | B | Na | Mg | Al_Constant | Al | K_constant | K | Ca | Sc | Ti | V | Cr_C | Cr | Mn_C | Mn | Fe_C | Fe | Co | Ni_C | Ni | Cu_C | Cu | Zn_C | Zn | As | Se | Rb | Sr | Y | Mo | Ag | Cd | Sn | Sb | Ba | W | Tl | Pb | Bi | Th | U
66226 | 1CO810D | Diluted DGT Extract | 2016-02-17 | _g/L | 12.9923 | < 5 | < 5 | < 10 | 240 | 3300 | 3.35 | 110 |  | < 200 | 18000 | < 10 | < 10 | < 5 |  | < 10 | 4.12 | 110 | 4.31 | 440 | < 5 | 4.07 | 3 |  | < 5 | 4.29 | 62 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66227 | 2CO810D | Diluted DGT Extract | 2016-02-17 | _g/L | 12.9923 | < 5 | < 5 | < 10 | 290 | 2900 | 3.35 | 150 |  | < 200 | 16000 | < 10 | < 10 | 5 |  | < 10 | 4.12 | 100 | 4.31 | < 400 | < 5 | 4.07 | 5 |  | < 5 | 4.29 | 67 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66228 | 1IS811D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.1661 | < 5 | < 5 | < 10 | 350 | 4100 | 3.57 | 60 |  | 200 | 27000 | < 10 | < 10 | < 5 |  | < 10 | 4.39 | 89 | 4.59 | < 400 | < 5 | 4.33 | 4 |  | < 5 | 4.56 | 51 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66229 | 2IS811D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.1661 | < 5 | < 5 | < 10 | 380 | 3800 | 3.57 | 340 |  | 350 | 24000 | < 10 | 10 | < 5 |  | < 10 | 4.39 | 120 | 4.59 | 650 | < 5 | 4.33 | 4 | 4.68 | 5 | 4.56 | 62 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | 12 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66230 | 1HA812D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.5715 | < 5 | < 5 | < 10 | 280 | 2700 | 3.46 | 61 |  | < 200 | 19000 | < 10 | < 10 | < 5 |  | < 10 | 4.26 | 20 | 4.45 | < 400 | < 5 | 4.2 | < 2 |  | < 5 | 4.42 | 61 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66231 | 2HA812D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.5715 | < 5 | < 5 | < 10 | 300 | 3100 | 3.46 | 63 |  | < 200 | 21000 | < 10 | < 10 | < 5 |  | < 10 | 4.26 | 29 | 4.45 | < 400 | < 5 | 4.2 | < 2 |  | < 5 | 4.42 | 68 | < 5 | < 5 | < 5 | 110 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66232 | 1MA813D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.12 | < 5 | < 5 | < 10 | 430 | 5000 | 3.57 | 37 |  | 300 | 26000 | < 10 | < 10 | < 5 | 3.79 | 12 | 4.39 | 470 | 4.59 | < 400 | < 5 | 4.33 | 10 | 4.68 | 8 | 4.56 | 96 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66233 | 2MA813D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.12 | < 5 | < 5 | < 10 | 420 | 3100 | 3.57 | 44 |  | 270 | 16000 | < 10 | < 10 | < 5 |  | < 10 | 4.39 | 320 | 4.59 | < 400 | < 5 | 4.33 | 7 | 4.68 | 7 | 4.56 | 86 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66234 | 1JE814D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.129 | < 5 | < 5 | < 10 | 590 | 3300 | 3.68 | 240 |  | 730 | 23000 | < 10 | < 10 | < 5 |  | < 10 | 4.52 | 170 | 4.73 | 810 | < 5 | 4.47 | < 2 | 4.82 | 6 | 4.7 | 66 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66235 | 2JE814D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.129 | < 5 | < 5 | < 10 | 360 | 2500 | 3.68 | 160 |  | < 200 | 18000 | < 10 | < 10 | < 5 |  | < 10 | 4.52 | 80 | 4.73 | < 400 | < 5 | 4.47 | < 2 | 4.82 | < 5 | 4.7 | < 50 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66236 | 1SW815D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.207 | < 5 | < 5 | < 10 | 390 | 4300 | 3.68 | 32 |  | 280 | 24000 | < 10 | < 10 | < 5 |  | < 10 | 4.52 | 450 | 4.73 | < 400 | < 5 | 4.47 | 8 | 4.82 | 5 | 4.7 | 86 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66237 | 2SW815D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.207 | < 5 | < 5 | < 10 | 300 | 4800 | 3.68 | 30 |  | < 200 | 26000 | < 10 | < 10 | < 5 |  | < 10 | 4.52 | 410 | 4.73 | < 400 | < 5 | 4.47 | 7 | 4.82 | 8 | 4.7 | < 50 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66238 | 1CO910D | Diluted DGT Extract | 2016-02-17 | _g/L | 11.7231 | < 5 | < 5 | < 10 | 350 | 3000 | 3.25 | 150 |  | 270 | 15000 | < 10 | < 10 | 12 |  | < 10 | 4 | 540 | 4.18 | 1600 | < 5 | 3.94 | 4 |  | < 5 | 4.15 | 97 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66239 | 2CO910D | Diluted DGT Extract | 2016-02-17 | _g/L | 11.7231 | < 5 | < 5 | < 10 | 260 | 3000 | 3.25 | 130 |  | 200 | 17000 | < 10 | < 10 | < 5 |  | < 10 | 4 | 99 | 4.18 | < 400 | < 5 | 3.94 | 3 |  | < 5 | 4.15 | 61 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66240 | 1IS911D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.4309 | < 5 | < 5 | < 10 | 390 | 2200 | 3.35 | 58 |  | 290 | 14000 | < 10 | < 10 | < 5 |  | < 10 | 4.12 | 77 | 4.31 | < 400 | < 5 | 4.07 | 5 |  | < 5 | 4.29 | 68 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66241 | 2IS911D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.4309 | < 5 | < 5 | < 10 | 360 | 2100 | 3.35 | 67 |  | 260 | 13000 | < 10 | < 10 | < 5 |  | < 10 | 4.12 | 46 | 4.31 | < 400 | < 5 | 4.07 | 5 |  | < 5 | 4.29 | 57 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66242 | 1HA912D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.3273 | < 5 | < 5 | < 10 | 340 | 3100 | 3.35 | 63 |  | < 200 | 22000 | < 10 | < 10 | < 5 |  | < 10 | 4.12 | 21 | 4.31 | < 400 | < 5 | 4.07 | 2 | 4.39 | 5 | 4.29 | 64 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66243 | 2HA912D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.3273 | < 5 | < 5 | < 10 | 450 | 2600 | 3.35 | 70 |  | 240 | 17000 | < 10 | < 10 | < 5 |  | < 10 | 4.12 | 19 | 4.31 | < 400 | < 5 | 4.07 | < 2 | 4.39 | 6 | 4.29 | 72 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66244 | 1MA913D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.9661 | < 5 | < 5 | < 10 | 340 | 3800 | 3.46 | 99 |  | 200 | 20000 | < 10 | < 10 | < 5 |  | < 10 | 4.26 | 220 | 4.45 | < 400 | < 5 | 4.2 | 9 | 4.53 | 9 | 4.42 | 99 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66245 | 2MA913D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.9661 | < 5 | < 5 | < 10 | 550 | 5600 | 3.46 | 160 |  | 300 | 29000 | < 10 | < 10 | < 5 |  | < 10 | 4.26 | 450 | 4.45 | 770 | < 5 | 4.2 | 11 | 4.53 | 10 | 4.42 | 130 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66246 | 1JE914D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.5519 | < 5 | < 5 | < 10 | 380 | 2800 | 3.57 | 120 |  | < 200 | 20000 | < 10 | < 10 | < 5 |  | < 10 | 4.39 | 170 | 4.59 | < 400 | < 5 | 4.33 | 2 | 4.68 | 6 | 4.56 | < 50 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66247 | 2JE914D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.5519 | < 5 | < 5 | < 10 | 370 | 2400 | 3.57 | 120 |  | 410 | 17000 | < 10 | < 10 | < 5 |  | < 10 | 4.39 | 95 | 4.59 | < 400 | < 5 | 4.33 | < 2 | 4.68 | 6 | 4.56 | < 50 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66248 | 1SW915D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.9508 | < 5 | < 5 | < 10 | 360 | 3100 | 3.57 | 46 |  | 220 | 16000 | < 10 | < 10 | < 5 |  | < 10 | 4.39 | 200 | 4.59 | < 400 | < 5 | 4.33 | 7 | 4.68 | 5 | 4.56 | 59 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66249 | 2SW915D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.9508 | < 5 | < 5 | < 10 | 340 | 4500 | 3.57 | 31 |  | 240 | 24000 | < 10 | < 10 | < 5 |  | < 10 | 4.39 | 250 | 4.59 | < 400 | < 5 | 4.33 | 10 | 4.68 | 6 | 4.56 | 55 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66250 | 3CO619D | Diluted Std Ref | 2016-02-17 | _g/L | 0 | < 5 | < 5 | 17 | 50000 | 8500 |  | 41 |  | 3900 | 34000 | < 10 | < 10 | < 5 |  | < 10 |  | 7 |  | < 400 | < 5 |  | < 2 |  | 5 |  | 45 | 5 | < 5 | < 5 | 290 | < 10 | 3 | 3 | < 3 | < 10 | < 5 | 81 | < 10 | 3 | < 3 | < 10 | < 10 | 2
66251 | 4CO619D | Diluted Std Ref | 2016-02-17 | _g/L | 0 | 9 | < 5 | 33 | 33000 | 22000 |  | 130 |  | 4500 | 50000 | < 10 | < 10 | < 5 |  | < 10 |  | 1000 |  | 1800 | 6 |  | 18 |  | 28 |  | 1000 | < 5 | < 5 | 5 | 530 | < 10 | < 3 | < 3 | 3 | < 10 | < 5 | 35 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66252 | 5CO619D | Diluted Std Ref | 2016-02-17 | _g/L | 0 | 9 | < 5 | 37 | 37000 | 23000 |  | 150 |  | 5100 | 55000 | < 10 | < 10 | < 5 |  | 11 |  | 1100 |  | 2100 | 6 |  | 26 |  | 33 |  | 1100 | < 5 | < 5 | 5 | 590 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | 37 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66253 | 1CO619D | Diluted DGT Extract | 2016-02-17 | _g/L | 0 | < 5 | < 5 | < 10 | 12000 | < 1000 |  | 82 |  | < 200 | < 1000 | < 10 | < 10 | < 5 |  | < 10 |  | < 5 |  | < 400 | < 5 |  | < 2 |  | < 5 |  | 71 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66254 | 2CO619D | Diluted DGT Extract | 2016-02-17 | _g/L | 0 | < 5 | < 5 | < 10 | 33000 | < 1000 |  | 24 |  | < 200 | < 1000 | < 10 | < 10 | < 5 |  | < 10 |  | < 5 |  | < 400 | < 5 |  | < 2 |  | < 5 |  | < 50 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2
66255 | 6CO619D | Diluted DGT Extract | 2016-02-17 | _g/L | 0 | < 5 | < 5 | < 10 | 31000 | < 1000 |  | 36 |  | < 200 | < 1000 | < 10 | < 10 | < 5 |  | < 10 |  | < 5 |  | < 400 | < 5 |  | < 2 |  | < 5 |  | < 50 | < 5 | < 5 | < 5 | < 100 | < 10 | < 3 | < 3 | < 3 | < 10 | < 5 | < 10 | < 10 | < 3 | < 3 | < 10 | < 10 | < 2

## Sheet7
CERC # | Field/Lab ID | Sample Type | Date | Units | Temperature | Al_Constant |  | Al |  | M_AL | Cb | ug/L_AL | Cr_C | Cr | Mn_C | Mn | Fe_C | Fe | Ni_C | Ni | Cu_C | Cu | Zn_C | Zn
66226 | 1CO810D | Diluted DGT Extract | 2016-02-17 | _g/L | 12.9923 | 3.35 | 3.35e-06 | 110 | 18333.3333 | 5.7292e-06 | 1.9752e-08 | 0.019752 |  | < 10 | 4.12 | 110 | 4.31 | 440 | 4.07 | 3 |  | < 5 | 4.29 | 62
66227 | 2CO810D | Diluted DGT Extract | 2016-02-17 | _g/L | 12.9923 | 3.35 | 3.35e-06 | 150 | 25000 | 7.8125e-06 | 2.6934e-08 | 0.026934 |  | < 10 | 4.12 | 100 | 4.31 | < 400 | 4.07 | 5 |  | < 5 | 4.29 | 67
66228 | 1IS811D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.1661 | 3.57 | 3.57e-06 | 60 | 10000 | 3.125e-06 | 1.011e-08 | 0.01011 |  | < 10 | 4.39 | 89 | 4.59 | < 400 | 4.33 | 4 |  | < 5 | 4.56 | 51
66229 | 2IS811D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.1661 | 3.57 | 3.57e-06 | 340 | 56666.6667 | 1.7708e-05 | 5.7289e-08 | 0.057289 |  | < 10 | 4.39 | 120 | 4.59 | 650 | 4.33 | 4 | 4.68 | 5 | 4.56 | 62
66230 | 1HA812D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.5715 | 3.46 | 3.46e-06 | 61 | 10166.6667 | 3.1771e-06 | 1.0605e-08 | 0.010605 |  | < 10 | 4.26 | 20 | 4.45 | < 400 | 4.2 | < 2 |  | < 5 | 4.42 | 61
66231 | 2HA812D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.5715 | 3.46 | 3.46e-06 | 63 | 10500 | 3.2813e-06 | 1.0953e-08 | 0.010953 |  | < 10 | 4.26 | 29 | 4.45 | < 400 | 4.2 | < 2 |  | < 5 | 4.42 | 68
66232 | 1MA813D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.12 | 3.57 | 3.57e-06 | 37 | 6166.6667 | 1.9271e-06 | 6.2344e-09 | 0.0062344 | 3.79 | 12 | 4.39 | 470 | 4.59 | < 400 | 4.33 | 10 | 4.68 | 8 | 4.56 | 96
66233 | 2MA813D | Diluted DGT Extract | 2016-02-17 | _g/L | 15.12 | 3.57 | 3.57e-06 | 44 | 7333.3333 | 2.2917e-06 | 7.4139e-09 | 0.0074139 |  | < 10 | 4.39 | 320 | 4.59 | < 400 | 4.33 | 7 | 4.68 | 7 | 4.56 | 86
66234 | 1JE814D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.129 | 3.68 | 3.68e-06 | 240 | 40000 | 1.25e-05 | 3.9231e-08 | 0.039231 |  | < 10 | 4.52 | 170 | 4.73 | 810 | 4.47 | < 2 | 4.82 | 6 | 4.7 | 66
66235 | 2JE814D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.129 | 3.68 | 3.68e-06 | 160 | 26666.6667 | 8.3333e-06 | 2.6154e-08 | 0.026154 |  | < 10 | 4.52 | 80 | 4.73 | < 400 | 4.47 | < 2 | 4.82 | < 5 | 4.7 | < 50
66236 | 1SW815D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.207 | 3.68 | 3.68e-06 | 32 | 5333.3333 | 1.6667e-06 | 5.2308e-09 | 0.0052308 |  | < 10 | 4.52 | 450 | 4.73 | < 400 | 4.47 | 8 | 4.82 | 5 | 4.7 | 86
66237 | 2SW815D | Diluted DGT Extract | 2016-02-17 | _g/L | 16.207 | 3.68 | 3.68e-06 | 30 | 5000 | 1.5625e-06 | 4.9038e-09 | 0.0049038 |  | < 10 | 4.52 | 410 | 4.73 | < 400 | 4.47 | 7 | 4.82 | 8 | 4.7 | < 50
66238 | 1CO910D | Diluted DGT Extract | 2016-02-17 | _g/L | 11.7231 | 3.25 | 3.25e-06 | 150 | 25000 | 7.8125e-06 | 2.7763e-08 | 0.027763 |  | < 10 | 4 | 540 | 4.18 | 1600 | 3.94 | 4 |  | < 5 | 4.15 | 97
66239 | 2CO910D | Diluted DGT Extract | 2016-02-17 | _g/L | 11.7231 | 3.25 | 3.25e-06 | 130 | 21666.6667 | 6.7708e-06 | 2.4061e-08 | 0.024061 |  | < 10 | 4 | 99 | 4.18 | < 400 | 3.94 | 3 |  | < 5 | 4.15 | 61
66240 | 1IS911D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.4309 | 3.35 | 3.35e-06 | 58 | 9666.6667 | 3.0208e-06 | 1.0415e-08 | 0.010415 |  | < 10 | 4.12 | 77 | 4.31 | < 400 | 4.07 | 5 |  | < 5 | 4.29 | 68
66241 | 2IS911D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.4309 | 3.35 | 3.35e-06 | 67 | 11166.6667 | 3.4896e-06 | 1.2031e-08 | 0.012031 |  | < 10 | 4.12 | 46 | 4.31 | < 400 | 4.07 | 5 |  | < 5 | 4.29 | 57
66242 | 1HA912D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.3273 | 3.35 | 3.35e-06 | 63 | 10500 | 3.2813e-06 | 1.1312e-08 | 0.011312 |  | < 10 | 4.12 | 21 | 4.31 | < 400 | 4.07 | 2 | 4.39 | 5 | 4.29 | 64
66243 | 2HA912D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.3273 | 3.35 | 3.35e-06 | 70 | 11666.6667 | 3.6458e-06 | 1.2569e-08 | 0.012569 |  | < 10 | 4.12 | 19 | 4.31 | < 400 | 4.07 | < 2 | 4.39 | 6 | 4.29 | 72
66244 | 1MA913D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.9661 | 3.46 | 3.46e-06 | 99 | 16500 | 5.1562e-06 | 1.7212e-08 | 0.017212 |  | < 10 | 4.26 | 220 | 4.45 | < 400 | 4.2 | 9 | 4.53 | 9 | 4.42 | 99
66245 | 2MA913D | Diluted DGT Extract | 2016-02-17 | _g/L | 13.9661 | 3.46 | 3.46e-06 | 160 | 26666.6667 | 8.3333e-06 | 2.7817e-08 | 0.027817 |  | < 10 | 4.26 | 450 | 4.45 | 770 | 4.2 | 11 | 4.53 | 10 | 4.42 | 130
66246 | 1JE914D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.5519 | 3.57 | 3.57e-06 | 120 | 20000 | 6.25e-06 | 2.022e-08 | 0.02022 |  | < 10 | 4.39 | 170 | 4.59 | < 400 | 4.33 | 2 | 4.68 | 6 | 4.56 | < 50
66247 | 2JE914D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.5519 | 3.57 | 3.57e-06 | 120 | 20000 | 6.25e-06 | 2.022e-08 | 0.02022 |  | < 10 | 4.39 | 95 | 4.59 | < 400 | 4.33 | < 2 | 4.68 | 6 | 4.56 | < 50
66248 | 1SW915D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.9508 | 3.57 | 3.57e-06 | 46 | 7666.6667 | 2.3958e-06 | 7.7509e-09 | 0.0077509 |  | < 10 | 4.39 | 200 | 4.59 | < 400 | 4.33 | 7 | 4.68 | 5 | 4.56 | 59
66249 | 2SW915D | Diluted DGT Extract | 2016-02-17 | _g/L | 14.9508 | 3.57 | 3.57e-06 | 31 | 5166.6667 | 1.6146e-06 | 5.2234e-09 | 0.0052234 |  | < 10 | 4.39 | 250 | 4.59 | < 400 | 4.33 | 10 | 4.68 | 6 | 4.56 | 55
66250 | 3CO619D | Diluted Std Ref | 2016-02-17 | _g/L | 0 |  |  | 41 | [5 empty] | < 10 |  | 7 |  | < 400 |  | < 2 |  | 5 |  | 45
66251 | 4CO619D | Diluted Std Ref | 2016-02-17 | _g/L | 0 |  |  | 130 | [5 empty] | < 10 |  | 1000 |  | 1800 |  | 18 |  | 28 |  | 1000
66252 | 5CO619D | Diluted Std Ref | 2016-02-17 | _g/L | 0 |  |  | 150 | [5 empty] | 11 |  | 1100 |  | 2100 |  | 26 |  | 33 |  | 1100
66253 | 1CO619D | Diluted DGT Extract | 2016-02-17 | _g/L | 0 |  |  | 82 | [5 empty] | < 10 |  | < 5 |  | < 400 |  | < 2 |  | < 5 |  | 71
66254 | 2CO619D | Diluted DGT Extract | 2016-02-17 | _g/L | 0 |  |  | 24 | [5 empty] | < 10 |  | < 5 |  | < 400 |  | < 2 |  | < 5 |  | < 50
66255 | 6CO619D | Diluted DGT Extract | 2016-02-17 | _g/L | 0 |  |  | 36 | [5 empty] | < 10 |  | < 5 |  | < 400 |  | < 2 |  | < 5 |  | < 50
G | 0.094
A | 3.14
2592000

## Sheet1
Temperature | D (E-6 cm2/sec)
°C | Ag | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Zn | P
10 | 9.04 | 3.04 | 3.9 | 3.8 | 3.23 | 3.99 | 3.91 | 3.74 | 3.7 | 5.14 | 3.89 | 3.87
11 | 9.34 | 3.14 | 4.03 | 3.93 | 3.34 | 4.12 | 4.04 | 3.87 | 3.82 | 5.31 | 4.02 | 4
12 | 9.64 | 3.25 | 4.16 | 4.06 | 3.45 | 4.26 | 4.18 | 4 | 3.94 | 5.49 | 4.15 | 4.13
13 | 9.95 | 3.35 | 4.3 | 4.19 | 3.56 | 4.39 | 4.31 | 4.12 | 4.07 | 5.67 | 4.29 | 4.27
14 | 10.27 | 3.46 | 4.43 | 4.32 | 3.67 | 4.53 | 4.45 | 4.26 | 4.2 | 5.85 | 4.42 | 4.4
15 | 10.59 | 3.57 | 4.57 | 4.46 | 3.79 | 4.68 | 4.59 | 4.39 | 4.33 | 6.03 | 4.56 | 4.54
16 | 10.92 | 3.68 | 4.72 | 4.6 | 3.91 | 4.82 | 4.73 | 4.52 | 4.47 | 6.21 | 4.7 | 4.68
17 | 11.25 | 3.79 | 4.86 | 4.74 | 4.03 | 4.97 | 4.87 | 4.66 | 4.6 | 6.4 | 4.85 | 4.82
18 | 11.59 | 3.9 | 5.01 | 4.88 | 4.15 | 5.12 | 5.02 | 4.8 | 4.74 | 6.6 | 4.99 | 4.97

## equation
Estimate of DGT accumulation |  |  | adjustable parameter
|  |  | g = | 0.094 | cm |  |  |  | resin capacity
C_DGT = (M*g)/(D*t*A) |  |  | D = | 5.29e-06 | cm2/s | Zn at 20 deg C |  |  | 1 day deployment
M = C_elute* (V_HNO3 + V_gel)/f_e |  |  | A = | 3.14 | cm2 |  |  |  | 0.5 | mM
|  |  | V_HNO3 = | 0.001 | L |  |  |  | 32685 | ug/L Zn
For Zn, C_DGT ~ C_diss |  |  | V_gel = | 0.00015 | L |  |  |  | 32.685 | ug in 1 mL | values in dark red exceed resin capacity
|  |  | f_e = | 0.8
|  |  | C_diss = | 10000 | ug/L |  | C_diss (ug/L) | 50 | 100 | 250 | 500 | 1000 | 5000 | 10000 | 50000
[5 empty] | dilute to 25 mL |  |  | dilute to 25 mL | dilute to 25 mL | dilute to 25 mL | dilute to 25 mL | dilute to 25 mL | dilute to 25 mL | dilute to 25 mL | dilute to 25 mL
| Time (d) | Time (hr) | Time (s) | Mass (ug) | C_ICPMS (ug/L) |  | Time (hr) | C_ICPMS (ug/L) | C_ICPMS (ug/L) | C_ICPMS (ug/L) | C_ICPMS (ug/L) | C_ICPMS (ug/L) | C_ICPMS (ug/L) | C_ICPMS (ug/L) | C_ICPMS (ug/L)
| 0.041667 | 1 | 3600 | 6.3615 | 254.4603 |  | 1 | 1.2723 | 2.5446 | 6.3615 | 12.723 | 25.446 | 127.2301 | 254.4603 | 1272.3013
| 0.125 | 3 | 10800 | 19.0845 | 763.3808 |  | 3 | 3.8169 | 7.6338 | 19.0845 | 38.169 | 76.3381 | 381.6904 | 763.3808 | 3816.9038
| 0.25 | 6 | 21600 | 38.169 | 1526.7615 |  | 6 | 7.6338 | 15.2676 | 38.169 | 76.3381 | 152.6762 | 763.3808 | 1526.7615 | 7633.8077
| 0.5 | 12 | 43200 | 76.3381 | 3053.5231 |  | 12 | 15.2676 | 30.5352 | 76.3381 | 152.6762 | 305.3523 | 1526.7615 | 3053.5231 | 15267.6153
| 1 | 24 | 86400 | 152.6762 | 6107.0461 |  | 24 | 30.5352 | 61.0705 | 152.6762 | 305.3523 | 610.7046 | 3053.5231 | 6107.0461 | 30535.2306
| 1.5 | 36 | 129600 | 229.0142 | 9160.5692 |  | 36 | 45.8028 | 91.6057 | 229.0142 | 458.0285 | 916.0569 | 4580.2846 | 9160.5692 | 45802.846
| 2 | 48 | 172800 | 305.3523 | 12214.0923 |  | 48 | 61.0705 | 122.1409 | 305.3523 | 610.7046 | 1221.4092 | 6107.0461 | 12214.0923 | 61070.4613
| 2.5 | 60 | 216000 | 381.6904 | 15267.6153 |  | 60 | 76.3381 | 152.6762 | 381.6904 | 763.3808 | 1526.7615 | 7633.8077 | 15267.6153 | 76338.0766
| 3 | 72 | 259200 | 458.0285 | 18321.1384 |  | 72 | 91.6057 | 183.2114 | 458.0285 | 916.0569 | 1832.1138 | 9160.5692 | 18321.1384 | 91605.6919
[7 empty] | Time (hr) | Mass (ug) | Mass (ug) | Mass (ug) | Mass (ug) | Mass (ug) | Mass (ug) | Mass (ug) | Mass (ug)
[7 empty] | 1 | 0.031808 | 0.063615 | 0.15904 | 0.31808 | 0.63615 | 3.1808 | 6.3615 | 31.8075
[7 empty] | 3 | 0.095423 | 0.19085 | 0.47711 | 0.95423 | 1.9085 | 9.5423 | 19.0845 | 95.4226
[7 empty] | 6 | 0.19085 | 0.38169 | 0.95423 | 1.9085 | 3.8169 | 19.0845 | 38.169 | 190.8452 | equat
[7 empty] | 12 | 0.38169 | 0.76338 | 1.9085 | 3.8169 | 7.6338 | 38.169 | 76.3381 | 381.6904
[7 empty] | 24 | 0.76338 | 1.5268 | 3.8169 | 7.6338 | 15.2676 | 76.3381 | 152.6762 | 763.3808
[7 empty] | 36 | 1.1451 | 2.2901 | 5.7254 | 11.4507 | 22.9014 | 114.5071 | 229.0142 | 1145.0711
[7 empty] | 48 | 1.5268 | 3.0535 | 7.6338 | 15.2676 | 30.5352 | 152.6762 | 305.3523 | 1526.7615
[7 empty] | 60 | 1.9085 | 3.8169 | 9.5423 | 19.0845 | 38.169 | 190.8452 | 381.6904 | 1908.4519
[7 empty] | 72 | 2.2901 | 4.5803 | 11.4507 | 22.9014 | 45.8028 | 229.0142 | 458.0285 | 2290.1423

## Tempavg
Date | Coulter | Issaquah | Harris | May | Jenkins | Swamp
2014-09-24 | 22.591 | 13.526 |  | 17.426 | 15.829
2014-09-25 | 22.569 | 13.458 |  | 17.561 | 14.174
2014-09-26 | 22.178 | 13.158 |  | 16.059 | 13.919
2014-09-27 | 22.667 | 13.139 |  | 14.444 | 13.843
2014-09-28 | 16.083 | 12.631 |  | 12.268 | 13.228
2014-09-29 | 11.332 | 11.961 | 22.531 | 13.331 | 12.723
2014-09-30 | 11.563 | 12.588 | 22.011 | 14.548 | 13.215
2014-10-01 | 11.154 | 12.545 | 22.201 | 13.035 | 13.17
2014-10-02 | 10.979 | 12.085 | 21.964 | 12.722 | 12.687
2014-10-03 | 10.451 | 11.333 | 22.809 | 13.681 | 12.103
2014-10-04 | 11.003 | 12.095 | 22.534 | 16.073 | 12.762
2014-10-05 | 11.065 | 12.199 | 22.666 | 16.055 | 12.856
2014-10-06 | 11.294 | 12.644 | 23.368 | 16.916 | 13.167
2014-10-07 | 11.558 | 13.066 | 22.823 | 15.184 | 13.339
2014-10-08 | 11.687 | 13.133 | 20.143 | 15.168 | 13.508
2014-10-09 | 11.226 | 12.109 | 19.91 | 13.388 | 12.868
2014-10-10 | 11.325 | 11.241 | 18.414 | 14.477 | 12.158
2014-10-11 | 11.704 | 12.381 | 18.467 | 14.289 | 12.777
2014-10-12 | 10.801 | 12.335 | 18.295 | 13.159 | 12.66
2014-10-13 | 10.978 | 12.284 | 18.568 | 14.9 | 12.606
2014-10-14 | 11.235 | 12.34 | 16.165 | 15.223 | 12.847
2014-10-15 | 11.104 | 11.814 | 16.152 | 12.369 | 12.475
2014-10-16 | 10.913 | 11.54 | 16.011 | 18.519 | 12.043
2014-10-17 | 10.624 | 11.527 | 16.265 | 17.397 | 12.042
2014-10-18 | 11.434 | 12.272 | 16.637 | 15.969 | 12.522
2014-10-19 | 11.496 | 12.228 | 16.991 | 15.848 | 12.541
2014-10-20 | 11.633 | 12.212 | 16.988 | 16.482 | 12.62
2014-10-21 | 11.537 | 11.995 | 16.897 | 13.507 | 12.247
2014-10-22 | 2.781 | 11.77 | 16.749 | 11.548 | 12.144
2014-10-23 | -23.878 | 11.497 | 16.485 | 12.097 | 11.943
2014-10-24 | -23.232 | 10.867 | 15.791 | 11.763 | 11.337
2014-10-25 | -24.605 | 11.142 | 15.483 | 11.291 | 11.4
2014-10-26 | -24.22 | 10.667 | 15.259 | 8.627 | 11.253
2014-10-27 | -24.424 | 10.195 | 15.181 | 11.558 | 10.689
2014-10-28 | -22.825 | 10.56 | 15.373 | 12.471 | 11.094
2014-10-29 | -23.911 | 11.246 | 15.969 | 15.048 | 11.568
2014-10-30 | -21.774 | 11.19 | 15.846 | 12.966 | 11.739
2014-10-31 | -25.212 | 11.225 | 15.378 | 10.836 | 11.792
2014-11-01 | -26.189 | 10.392 | 14.662 | 9.891 | 10.947
2014-11-02 | -24.959 | 10.188 | 14.432 | 8.654 | 10.506
2014-11-03 | -12.056 | 10.82 | 15.198 | 11.651 | 11.29
2014-11-04 | -6.599 | 11.198 | 15.457 | 12.595 | 11.732
2014-11-05 | -24.741 | 11.133 | 15.312 | 11.908 | 11.689
2014-11-06 | -25.086 | 11.521 | 15.631 | 12.378 | 11.992
2014-11-07 | 2.71 | 10.124 | 14.678 | 7.149 | 10.825
2014-11-08 | 22.431 | 8.814 | 13.591 | 7.113 | 9.294
2014-11-09 | 22.911 | 9.348 | 14.357 | 8.732 | 9.683
2014-11-10 | 17.804 | 9.129 | 13.858 | 9.45 | 9.613
2014-11-11 | 7.359 | 6.92 | 12.662 | 1.202 | 7.538
2014-11-12 | 6.459 | 4.883 | 10.405 | 2.021 | 5.392
2014-11-13 | 3.999 | 4.468 | 9.89 | 1.616 | 5.017
2014-11-14 | 5.138 | 3.948 | 9.394 | -0.323 | 4.642
2014-11-15 | 5.115 | 3.624 | 9.536 | -3.117 | 4.189
2014-11-16 | 4.982 | 3.741 | 10.328 | -1.816 | 3.654
2014-11-17 | 5.116 | 4.129 | 10.739 | 0.502 | 3.848
2014-11-18 | 5.185 | 4.667 | 10.966 | 3.773 | 4.19
2014-11-19 | 5.971 | 5.749 | 11.337 | 4.739 | 5.984
2014-11-20 | 6.885 | 7.24 | 16.464 | 6.327 | 7.956
2014-11-21 | 7.676 | 7.971 | 14.971 | 7.567 | 8.557
2014-11-22 | 7.53 | 7.698 | 16.57 | 7.503 | 8.08
2014-11-23 | 7.608 | 7.768 | 16.472 | 7.715 | 8.088
2014-11-24 | 6.991 | 7.42 | 15.298 | 7.015 | 7.274
2014-11-25 | 8.253 | 8.808 | 14.342 | 8.693 | 8.796
2014-11-26 | 9.186 | 9.8 | 14.812 | 10.053 | 9.961
2014-11-27 | 9.621 | 9.96 | 14.924 | 10.463 | 10.361
2014-11-28 | 9.553 | 9.34 | 14.504 | 9.829 | 10.142
2014-11-29 | 7.437 | 6.186 | 11.811 | 6.74 | 7.146
2014-11-30 | 5.242 | 3.873 | 10.236 | 3.881 | 4.156
2014-12-01 | 4.448 | 4.036 | 9.905 | 2.996 | 3.948
2014-12-02 | 4.215 | 3.797 | 8.783 | 2.731 | 3.827
2014-12-03 | 4.812 | 4.164 | 11.137 | 3.086 | 4.35
2014-12-04 | 5.668 | 5.581 | 3.937 | 4.605 | 5.954
2014-12-05 | 6.424 | 6.857 | 4.83 | 6.246 | 7.349
2014-12-06 | 7.149 | 7.591 | 5.544 | 7.145 | 8.072
2014-12-07 | 7.368 | 7.586 | 5.799 | 7.239 | 8.02
2014-12-08 | 7.575 | 8.227 | 6.3 | 7.893 | 8.592
2014-12-09 | 8.172 | 8.8 | 7.225 | 8.882 | 9.279
2014-12-10 | 8.712 | 9.145 | 7.782 | 9.488 | 9.59
2014-12-11 | 8.68 | 8.584 | 7.624 | 9.003 | 9.176
2014-12-12 | 8.593 | 8.582 | 7.678 | 8.739 | 8.985
2014-12-13 | 7.869 | 8.166 | 7.273 | 8.362 | 8.56
2014-12-14 | 7.132 | 6.118 | 5.607 | 6.808 | 6.868
2014-12-15 | 6.379 | 6.33 | 4.745 | 5.946 | 7.008
2014-12-16 | 7.021 | 7.171 | 5.567 | 7.166 | 7.826
2014-12-17 | 7.146 | 7.192 | 5.725 | 7.108 | 8.378
2014-12-18 | 7.715 | 7.684 | 6.403 | 7.712 | 8.903
2014-12-19 | 7.951 | 7.803 | 6.769 | 7.999 | 8.918
2014-12-20 | 7.789 | 7.634 | 6.812 | 7.987 | 8.713
2014-12-21 | 8.34 | 8.759 | 7.789 | 9.016 | 9.459
2014-12-22 | 7.971 | 8.253 | 7.392 | 8.425 | 9.257
2014-12-23 | 7.844 | 7.749 | 7.033 | 8.025 | 8.805
2014-12-24 | 7.675 | 7.213 | 6.93 | 7.478 | 8.016
2014-12-25 | 6.768 | 6.965 | 6.562 | 7.087 | 7.648
2014-12-26 | 6.745 | 6.436 | 6.312 | 6.69 | 7.079
2014-12-27 | 7.141 | 6.78 | 6.482 | 6.804 | 7.162
2014-12-28 | 6.594 | 6.822 | 6.221 | 6.997 | 7.781
2014-12-29 | 6.037 | 5.79 | 5.76 | 6.01 | 6.953
2014-12-30 | 4.962 | 4.03 | 4.13 | 3.779 | 5.13
2014-12-31 | 4.433 | 3.493 | 3.119 | 2.784 | 4.448
2015-01-01 | 4.141 | 3.377 | 2.813 | 2.455 | 4.32
2015-01-02 | 4.543 | 4.314 | 3.348 | 3.259 | 5.165
2015-01-03 | 5.385 | 4.996 | 3.979 | 4.117 | 6.371
2015-01-04 | 5.907 | 5.453 | 4.369 | 5.119 | 7.027
2015-01-05 | 7.18 | 7.147 | 5.876 | 7.502 | 8.51
2015-01-06 | 7.656 | 7.499 | 6.343 | 7.633 | 8.324
2015-01-07 | 7.824 | 6.847 | 5.688 | 7.112 | 7.75
2015-01-08 | 7.543 | 6.395 | 5.455 | 6.628 | 7.602
2015-01-09 | 6.99 | 6.442 | 5.002 | 5.873 | 7.334
2015-01-10 | 7.3 | 7.145 | 5.565 | 6.586 | 7.826
2015-01-11 | 7.762 | 7.771 | 6.279 | 7.582 | 8.734
2015-01-12 | 7.932 | 7.295 | 6.165 | 7.514 | 8.419
2015-01-13 | 7.739 | 6.142 | 4.996 | 6.504 | 7.631
2015-01-14 | 6.82 | 5.512 | 4.549 | 5.239 | 6.637
2015-01-15 | 5.984 | 5.694 | 4.307 | 4.776 | 6.525
2015-01-16 | 6.656 | 6.924 | 5.305 | 6.328 | 7.937
2015-01-17 | 6.406 | 6.523 | 5.14 | 6.283 | 7.663
2015-01-18 | 7.129 | 7.644 | 6.316 | 7.784 | 8.33
2015-01-19 | 7.138 | 7.444 | 6.501 | 7.531 | 8.062
2015-01-20 | 6.678 | 6.644 | 5.682 | 6.874 | 7.114
2015-01-21 | 5.941 | 5.771 | 4.572 | 5.435 | 6.098
2015-01-22 | 6.806 | 7.098 | 5.446 | 6.748 | 7.423
2015-01-23 | 7.637 | 8.08 | 6.514 | 8.001 | 8.667
2015-01-24 | 8.536 | 8.974 | 7.664 | 9.424 | 9.68
2015-01-25 | 8.767 | 8.739 | 7.942 | 9.782 | 9.988
2015-01-26 | 8.216 | 7.857 | 7.037 | 8.65 | 8.897
2015-01-27 | 8.199 | 8.251 | 6.913 | 8.413 | 9.019
2015-01-28 | 8.488 | 8.459 | 7.409 | 8.771 | 9.492
2015-01-29 | 7.43 | 7.038 | 6.101 | 7.366 | 8.261
2015-01-30 | 6.686 | 6.326 | 5.331 | 6.192 | 7.399
2015-01-31 | 6.837 | 6.232 | 5.133 | 6.265 | 7.282
2015-02-01 | 7.319 | 6.979 | 5.733 | 6.83 | 7.86
2015-02-02 | 7.847 | 7.366 | 6.175 | 7.513 | 8.32
2015-02-03 | 8.025 | 7.609 | 6.506 | 7.684 | 8.45
2015-02-04 | 8.056 | 7.316 | 6.347 | 7.404 | 8.143
2015-02-05 | 8.413 | 8.217 | 7.034 | 8.468 | 8.915
2015-02-06 | 9.061 | 8.861 | 7.946 | 9.427 | 9.438
2015-02-07 | 9.123 | 8.643 | 7.939 | 9.212 | 9.189
2015-02-08 | 9.12 | 8.673 | 8.226 | 9.408 | 9.181
2015-02-09 | 9.132 | 8.909 | 8.341 | 9.539 | 9.448
2015-02-10 | 9.307 | 9.035 | 8.752 | 9.953 | 9.843
2015-02-11 | 8.569 | 8.402 | 8.079 | 8.95 | 9.018
2015-02-12 | 9.063 | 9.318 | 8.62 | 9.917 | 9.761
2015-02-13 | 8.998 | 9.199 | 8.896 | 10.228 | 9.901
2015-02-14 | 9.262 | 9.152 | 9.027 | 10.226 | 9.96
2015-02-15 | 8.231 | 7.524 | 7.766 | 8.293 | 8.507
2015-02-16 | 8.017 | 7.088 | 7.206 | 7.876 | 8.04
2015-02-17 | 7.723 | 6.966 | 6.565 | 7.255 | 8.006
2015-02-18 | 7.241 | 7.303 | 6.5 | 7.366 | 8.093
2015-02-19 | 7.907 | 8.352 | 7.369 | 8.358 | 9.244
2015-02-20 | 8.582 | 8.728 | 7.946 | 9.157 | 9.756
2015-02-21 | 7.999 | 7.924 | 7.635 | 8.449 | 9.093
2015-02-22 | 7.168 | 6.535 | 6.41 | 6.865 | 7.912
2015-02-23 | 6.626 | 5.957 | 5.747 | 5.968 | 7.327
2015-02-24 | 6.596 | 6.294 | 5.818 | 6.195 | 7.474
2015-02-25 | 7.147 | 7.465 | 6.394 | 7.346 | 8.599
2015-02-26 | 8.227 | 8.302 | 7.372 | 8.469 | 9.489
2015-02-27 | 8.432 | 8.332 | 7.806 | 9.028 | 9.483
2015-02-28 | 7.694 | 7.237 | 6.953 | 7.9 | 8.619
2015-03-01 | 6.69 | 6.443 | 6.111 | 6.84 | 7.677
2015-03-02 | 7.47 | 7.288 | 6.805 | 7.647 | 8.603
2015-03-03 | 6.568 | 5.984 | 5.957 | 6.324 | 7.706
2015-03-04 | 6.028 | 5.445 | 5.302 | 5.565 | 7.257
2015-03-05 | 6.375 | 6.247 | 5.698 | 6.282 | 7.758
2015-03-06 | 6.818 | 6.942 | 6.251 | 6.959 | 8.405
2015-03-07 | 7 | 7.142 | 6.572 | 7.231 | 8.583
2015-03-08 | 7.279 | 7.373 | 6.788 | 7.673 | 8.874
2015-03-09 | 7.492 | 7.714 | 7.082 | 8.053 | 9.104
2015-03-10 | 7.904 | 7.579 | 7.255 | 8.313 | 9.087
2015-03-11 | 8.587 | 8.653 | 8.166 | 9.459 | 9.96
2015-03-12 | 9.239 | 9.716 | 8.858 | 10.363 | 10.875
2015-03-13 | 9.007 | 9.264 | 8.878 | 10.147 | 10.482
2015-03-14 | 9.66 | 9.922 | 9.629 | 11.052 | 11.086
2015-03-15 | 8.937 | 9.088 | 9.064 | 10.016 | 10.282
2015-03-16 | 8.514 | 8.847 | 8.801 | 9.803 | 9.927
2015-03-17 | 8.399 | 8.527 | 8.471 | 9.412 | 9.624
2015-03-18 | 8.576 | 8.967 | 9.156 | 10.077 | 10.067
2015-03-19 | 8.675 | 9.05 | 9.058 | 10.159 | 10.076
2015-03-20 | 8.983 | 9.479 | 9.7 | 10.577 | 10.643
2015-03-21 | 9.331 | 9.473 | 9.901 | 10.682 | 10.683
2015-03-22 | 8.278 | 8.497 | 8.881 | 9.656 | 9.744
2015-03-23 | 8.03 | 8.34 | 8.484 | 9.111 | 9.32
2015-03-24 | 8.705 | 8.259 | 8.611 | 9.456 | 9.521
2015-03-25 | 9.102 | 8.547 | 8.727 | 9.817 | 9.738
2015-03-26 | 10.059 | 10.028 | 10.043 | 11.389 | 11.03
2015-03-27 | 10.006 | 10.32 | 10.622 | 12.022 | 11.479
2015-03-28 | 10.021 | 10.272 | 11.004 | 12.091 | 11.548
2015-03-29 | 9.939 | 10.002 | 10.752 | 11.636 | 11.22
2015-03-30 | 10.658 | 10.82 | 11.215 | 12.232 | 11.842
2015-03-31 | 10.004 | 9.88 | 10.861 | 11.579 | 11.496
2015-04-01 | 8.636 | 8.43 | 9.781 | 10.033 | 10.195
2015-04-02 | 8.63 | 8.621 | 9.685 | 10.056 | 10.126
2015-04-03 | 8.31 | 8.222 | 9.289 | 9.503 | 9.684
2015-04-04 | 8.055 | 8.307 | 9.038 | 9.11 | 9.424
2015-04-05 | 8.009 | 7.824 | 8.516 | 9.079 | 9.57
2015-04-06 | 8.702 | 8.211 | 8.488 | 9.533 | 9.716
2015-04-07 | 8.793 | 8.275 | 8.269 | 9.476 | 9.907
2015-04-08 | 9.023 | 9.125 | 9.381 | 10.44 | 10.663
2015-04-09 | 9.024 | 9.454 | 9.655 | 10.71 | 10.96
2015-04-10 | 8.823 | 9.189 | 9.788 | 10.659 | 10.937
2015-04-11 | 8.831 | 9.227 | 9.744 | 10.374 | 10.695
2015-04-12 | 8.724 | 8.816 | 9.258 | 10.248 | 10.536 | 15.178
2015-04-13 | 8.425 | 8.411 | 8.871 | 9.638 | 10.214 | 9.406
2015-04-14 | 8.629 | 7.988 | 8.257 | 9.149 | 9.611 | 9.146
2015-04-15 | 8.836 | 8.108 | 8.319 | 9.524 | 9.832 | 9.508
2015-04-16 | 8.815 | 8.752 | 8.889 | 10.014 | 10.374 | 10.131
2015-04-17 | 9.401 | 9.895 | 9.848 | 11.074 | 11.389 | 11.262
2015-04-18 | 9.737 | 10.336 | 10.315 | 11.657 | 11.873 | 11.732
2015-04-19 | 9.82 | 10.593 | 10.693 | 11.892 | 12.076 | 11.997
2015-04-20 | 10.373 | 11.162 | 11.273 | 12.335 | 12.439 | 12.519
2015-04-21 | 10.196 | 10.563 | 11.313 | 12.063 | 12.094 | 12.019
2015-04-22 | 9.513 | 10.069 | 10.632 | 11.019 | 11.433 | 10.92
2015-04-23 | 9.137 | 9.507 | 10.192 | 10.492 | 11.114 | 10.605
2015-04-24 | 9.156 | 8.886 | 9.753 | 10.149 | 10.367 | 10.431
2015-04-25 | 9.125 | 9.239 | 9.568 | 10.182 | 10.585 | 10.491
2015-04-26 | 8.908 | 9.026 | 9.247 | 10.134 | 10.57 | 10.39
2015-04-27 | 10.612 | 11.763 | 11.41 | 12.632 | 12.72 | 13.017
2015-04-28 | 10.713 | 11.176 | 11.712 | 12.437 | 12.749 | 12.819
2015-04-29 | 10.118 | 10.624 | 11.242 | 11.963 | 11.811 | 12.289
2015-04-30 | 10.153 | 10.986 | 11.725 | 11.894 | 11.903 | 12.892
2015-05-01 | 10.326 | 11.171 | 11.832 | 12.294 | 12.32 | 13.084
2015-05-02 | 10.534 | 11.33 | 11.613 | 12.155 | 12.499 | 12.801
2015-05-03 | 10.119 | 10.929 | 11.213 | 11.657 | 12.053 | 12.344
2015-05-04 | 10.166 | 10.748 | 11.189 | 11.682 | 12.007 | 12.281
2015-05-05 | 10.302 | 10.705 | 10.908 | 11.508 | 12.05 | 11.588
2015-05-06 | 9.707 | 10.009 | 10.402 | 10.697 | 11.365 | 11.083
2015-05-07 | 9.619 | 10.643 | 10.874 | 11.058 | 11.651 | 11.863
2015-05-08 | 10.119 | 11.395 | 11.43 | 11.919 | 12.386 | 12.753
2015-05-09 | 10.567 | 12.09 | 12.101 | 12.526 | 13.026 | 13.566
2015-05-10 | 10.871 | 12.363 | 12.509 | 12.939 | 13.293 | 13.996
2015-05-11 | 10.686 | 11.425 | 12.239 | 12.264 | 12.609 | 13.192
2015-05-12 | 10.621 | 10.784 | 11.816 | 11.96 | 12.142 | 13.006
2015-05-13 | 10.531 | 10.624 | 11.545 | 11.665 | 11.99 | 12.417
2015-05-14 | 10.625 | 11.23 | 11.388 | 12.007 | 12.159 | 12.403
2015-05-15 | 10.641 | 10.896 | 11.401 | 12.179 | 12.22 | 12.801
2015-05-16 | 10.715 | 10.937 | 11.658 | 12.322 | 12.306 | 13.107
2015-05-17 | 10.795 | 11.223 | 11.798 | 12.554 | 12.491 | 13.375
2015-05-18 | 11.518 | 12.437 | 12.692 | 13.522 | 13.236 | 14.289
2015-05-19 | 11.846 | 12.722 | 13.442 | 14.494 | 13.924 | 14.734
2015-05-20 | 11.706 | 12.911 | 13.562 | 13.737 | 13.725 | 14.928
2015-05-21 | 11.967 | 13.616 | 13.75 | 14.177 | 14.408 | 15.417
2015-05-22 | 11.491 | 12.626 | 13.395 | 13.708 | 14.118 | 14.662
2015-05-23 | 11.109 | 11.874 | 12.789 | 12.912 | 12.81 | 13.674
2015-05-24 | 11.105 | 11.899 | 12.614 | 12.934 | 12.394 | 13.624
2015-05-25 | 10.984 | 11.664 | 12.488 | 12.654 | 12.186 | 13.428
2015-05-26 | 11.178 | 11.96 | 12.647 | 13.208 | 12.552 | 13.935
2015-05-27 | 11.668 | 12.85 | 13.184 | 13.575 | 13.11 | 14.551
2015-05-28 | 12.102 | 13.917 | 13.67 | 14.297 | 14.073 | 15.347
2015-05-29 | 12.427 | 14.553 | 14.121 | 14.79 | 15.048 | 15.857
2015-05-30 | 11.988 | 14.183 | 13.771 | 14.149 | 14.474 | 15.146
2015-05-31 | 11.653 | 13.62 | 13.254 | 13.864 | 13.911 | 14.775
2015-06-01 | 11.357 | 12.53 | 12.932 | 13.193 | 13.071 | 13.891
2015-06-02 | 11.473 | 12.211 | 12.835 | 13.103 | 12.625 | 13.848
2015-06-03 | 11.373 | 12.044 | 12.881 | 13.23 | 12.66 | 14.374
2015-06-04 | 11.625 | 12.603 | 12.949 | 13.491 | 12.776 | 14.569
2015-06-05 | 11.881 | 13.535 | 13.334 | 14.013 | 13.554 | 15.279
2015-06-06 | 12.305 | 14.322 | 13.598 | 14.583 | 14.437 | 15.867
2015-06-07 | 12.858 | 15.003 | 14.152 | 15.098 | 15.135 | 16.76
2015-06-08 | 13.113 | 15.332 | 14.323 | 15.459 | 15.58 | 16.9
2015-06-09 | 13.021 | 15.094 | 14.006 | 15.213 | 15.403 | 16.394
2015-06-10 | 12.727 | 14.597 | 13.529 | 14.773 | 14.828 | 15.938
2015-06-11 | 12.331 | 14.466 | 13.302 | 14.418 | 15.31 | 15.667
2015-06-12 | 12.031 | 13.627 | 12.895 | 13.847 | 15.582 | 14.814
2015-06-13 | 11.689 | 12.924 | 12.162 | 13.279 | 14.952 | 14.411
2015-06-14 | 11.854 | 13.541 | 12.419 | 13.739 | 15.526 | 14.925
2015-06-15 | 12.26 | 14.35 | 13.066 | 14.476 | 16.396 | 15.648
2015-06-16 | 12.289 | 14.311 | 12.957 | 14.268 | 16.378 | 15.346
2015-06-17 | 12.166 | 14.183 | 12.726 | 14.01 | 16.148 | 15.087
2015-06-18 | 12.35 | 14.48 | 12.828 | 14.19 | 16.352 | 15.034
2015-06-19 | 12.441 | 14.254 | 12.917 | 14.426 | 15.63 | 15.231
2015-06-20 | 12.005 | 13.695 | 12.722 | 14.024 | 14.461 | 14.994
2015-06-21 | 12.365 | 13.824 | 12.552 | 14.184 | 14.327 | 15.133
2015-06-22 | 12.487 | 13.803 | 12.6 | 14.091 | 14.338 | 15.204
2015-06-23 | 12.25 | 14.052 | 12.703 | 14.113 | 15.192 | 15.154
2015-06-24 | 12.403 | 15.198 | 13.35 | 14.568 | 16.58 | 15.591
2015-06-25 | 12.833 | 15.023 | 13.421 | 15.072 | 16.771 | 16.214
2015-06-26 | 13.424 | 15.905 | 13.976 | 15.881 | 16.514 | 17.285
2015-06-27 | 14.211 | 16.3 | 14.259 | 16.106 | 16.806 | 17.402
2015-06-28 | 13.162 | 15.445 | 14.06 | 15.493 | 16.037 | 16.56
2015-06-29 | 13.454 | 16.3 | 14.811 | 16.284 | 16.543 | 17.668
2015-06-30 | 13.669 | 16.652 | 14.856 | 16.385 | 16.739 | 16.943
2015-07-01 | 13.768 | 16.538 | 14.347 | 16.84 | 16.646 | 17.932
2015-07-02 | 13.936 | 16.72 | 14.443 | 16.571 | 17.21 | 18
2015-07-03 | 14.069 | 16.859 | 14.485 | 16.669 | 17.387 | 18.1
2015-07-04 | 13.951 | 16.791 | 14.209 | 16.526 | 17.263 | 17.866
2015-07-05 | 13.916 | 16.154 | 13.795 | 15.926 | 16.622 | 17.476
2015-07-06 | 13.841 | 16.42 | 13.906 | 16.159 | 16.838 | 17.462
2015-07-07 | 13.468 | 16.117 | 13.578 | 15.73 | 16.367 | 16.813
2015-07-08 | 13.501 | 16.297 | 13.8 | 15.891 | 16.021 | 16.944
2015-07-09 | 13.723 | 16.479 | 14.09 | 16.064 | 19.09 | 17.235
2015-07-10 | 13.377 | 15.304 | 13.549 | 15.323 | 18.292 | 16.518
2015-07-11 | 12.914 | 14.495 | 13.325 | 14.88 | 16.646 | 15.84
2015-07-12 | 13.086 | 15.09 | 13.65 | 15.257 | 16.046 | 16.472
2015-07-13 | 13.211 | 15.26 | 13.56 | 15.4 | 15.963 | 16.383
2015-07-14 | 12.976 | 15.222 | 13.315 | 15.24 | 15.674 | 16.176
2015-07-15 | 12.885 | 15.134 | 13.087 | 15.006 | 15.519 | 16.033
2015-07-16 | 13.171 | 15.538 | 13.28 | 15.223 | 16.028 | 16.364
2015-07-17 | 12.886 | 14.915 | 12.87 | 14.829 | 15.584 | 16.072
2015-07-18 | 13.229 | 15.551 | 13.41 | 15.383 | 16.167 | 16.822
2015-07-19 | 13.739 | 16.337 | 14.153 | 16.191 | 17.093 | 17.71
2015-07-20 | 13.733 | 16.159 | 14.06 | 16.115 | 17.114 | 17.471
2015-07-21 | 13.27 | 15.288 | 13.347 | 15.321 | 16.151 | 16.039
2015-07-22 | 12.704 | 14.911 | 12.899 | 14.91 | 15.703 | 15.507
2015-07-23 | 12.963 | 14.838 | 12.946 | 14.827 | 15.765 | 15.657
2015-07-24 | 12.831 | 14.233 | 12.699 | 14.413 | 15.178 | 15.184
2015-07-25 | 12.742 | 14.167 | 13.048 | 14.495 | 15.313 | 15.022
2015-07-26 | 12.224 | 13.869 | 13.192 | 14.25 | 14.695 | 15.535
2015-07-27 | 11.911 | 13.561 | 12.967 | 13.987 | 14.301 | 15.25
2015-07-28 | 12.348 | 14.365 | 13.252 | 14.546 | 15.021 | 15.954
2015-07-29 | 12.826 | 15.036 | 13.827 | 14.986 | 15.781 | 16.562
2015-07-30 | 13.058 | 15.451 | 14.136 | 15.416 | 16.236 | 16.928
2015-07-31 | 13.269 | 15.714 | 14.221 | 15.569 | 16.607 | 16.951
2015-08-01 | 13.18 | 15.74 | 14.087 | 15.545 | 16.658 | 16.769
2015-08-02 | 13.153 | 15.34 | 13.738 | 15.46 | 16.443 | 16.761
2015-08-03 | 13.413 | 15.329 | 13.907 | 15.62 | 16.42 | 16.898
2015-08-04 | 13.3 | 15.357 | 13.736 | 15.465 | 16.165 | 16.48
2015-08-05 | 12.718 | 14.333 | 12.785 | 14.436 | 15.259 | 15.049
2015-08-06 | 12.618 | 14.721 | 13.32 | 14.787 | 15.668 | 15.584
2015-08-07 | 12.612 | 14.589 | 13.419 | 14.714 | 15.456 | 15.671
2015-08-08 | 12.971 | 14.753 | 13.784 | 15.051 | 15.968 | 15.922
2015-08-09 | 13.079 | 15.499 | 14.265 | 15.266 | 16.372 | 16.37
2015-08-10 | 13.204 | 15.626 | 14.189 | 15.443 | 16.694 | 16.484
2015-08-11 | 13.279 | 15.574 | 14.043 | 15.536 | 16.591 | 16.466
2015-08-12 | 13.196 | 15.535 | 13.915 | 15.261 | 16.568 | 16.06
2015-08-13 | 13.518 | 15.534 | 14.273 | 15.507 | 16.523 | 16.534
2015-08-14 | 12.972 | 14.555 | 13.627 | 15.323 | 15.828 | 16.14
2015-08-15 | 12.645 | 14.143 | 14.219 | 14.958 | 15.053 | 16.376
2015-08-16 | 12.41 | 14.332 | 13.759 | 14.728 | 15.141 | 15.928
2015-08-17 | 12.467 | 14.472 | 13.862 | 14.696 | 15.28 | 15.889
2015-08-18 | 12.766 | 14.75 | 14.09 | 15.029 | 15.715 | 16.225
2015-08-19 | 13.006 | 15.3 | 14.583 | 15.416 | 16.369 | 16.746
2015-08-20 | 13.111 | 14.969 | 14.069 | 15.179 | 16.339 | 16.087
2015-08-21 | 12.751 | 13.926 | 13.256 | 14.391 | 15.166 | 15.537
2015-08-22 | 12.102 | 13.54 | 12.867 | 13.826 | 14.368 | 14.825
2015-08-23 | 12.014 | 13.73 | 12.933 | 14 | 14.555 | 14.923
2015-08-24 | 11.918 | 13.844 | 12.865 | 13.998 | 14.584 | 14.674
2015-08-25 | 11.663 | 13.579 | 12.397 | 13.749 | 14.368 | 14.264
2015-08-26 | 11.903 | 13.644 | 12.586 | 13.889 | 14.533 | 14.701
2015-08-27 | 12.261 | 14.295 | 13.289 | 14.3 | 15.182 | 15.227
2015-08-28 | 12.601 | 14.532 | 13.476 | 14.622 | 15.736 | 15.586
2015-08-29 | 12.642 | 14.463 | 13.869 | 15.195 | 15.692 | 16.068
2015-08-30 | 12.88 | 14.056 | 14.535 | 15.697 | 15.096 | 16.291
2015-08-31 | 12.611 | 13.417 | 14.445 | 15.214 | 14.41 | 15.487
2015-09-01 | 12.625 | 13.4 | 14.402 | 14.98 | 14.356 | 15.251
2015-09-02 | 12.206 | 13.622 | 14.078 | 14.647 | 14.071 | 15.262
2015-09-03 | 11.144 | 12.633 | 13.338 | 13.611 | 13.012 | 14.506
2015-09-04 | 11.146 | 12.232 | 12.352 | 12.626 | 12.844 | 13.627
2015-09-05 | 10.614 | 11.71 | 11.96 | 12.265 | 12.543 | 13.042
2015-09-06 | 11.071 | 12.052 | 12.347 | 13.157 | 13.148 | 13.656
2015-09-07 | 11.613 | 12.896 | 13.082 | 13.888 | 13.941 | 14.102
2015-09-08 | 11.589 | 12.969 | 13.166 | 13.801 | 14.159 | 14.445
2015-09-09 | 11.87 | 13.458 | 13.286 | 13.991 | 14.774 | 14.9
2015-09-10 | 11.966 | 13.45 | 13.193 | 14.138 | 14.602 | 15.112
2015-09-11 | 11.939 | 13.658 | 13.509 | 14.262 | 14.895 | 15.238
2015-09-12 | 12.057 | 13.946 | 13.848 | 14.379 | 15.209 | 15.254
2015-09-13 | 12.136 | 13.563 | 13.435 | 14.052 | 14.963 | 14.798
2015-09-14 | 11.549 | 12.7 | 12.536 | 12.904 | 13.52 | 13.558
2015-09-15 | 10.405 | 11.973 | 11.981 | 12.391 | 12.875 | 13.085
2015-09-16 | 10.77 | 11.881 | 11.536 | 12.131 | 12.718 | 12.779
2015-09-17 | 11.343 | 12.414 | 12.192 | 12.923 | 13.51 | 14.879
2015-09-18 | 11.468 | 12.525 | 12.907 | 12.928 | 13.397 | 17.743
2015-09-19 | 11.961 | 12.905 | 13.442 | 13.44 | 14.066 | 20.793
2015-09-20 | 12.477 | 13.504 | 14.086 | 14.294 | 14.982 | 21.604
2015-09-21 | 11.904 | 13.15 | 13.415 | 13.358 | 16.743 | 19.945
2015-09-22 | 10.684 | 11.393 | 15.635 | 11.626 | 18.951 | 19.052
2015-09-23 | 10.202 | 10.982 | 19.312 | 14.391 | 19.073 | 19.176
2015-09-24 | 10.867 | 11.733 | 20.819 | 20.967 | 21.002 | 21.039
2015-09-25 | 11.224 | 12.201 | 23.126 | 23.153 | 23.124 | 23.083
2015-09-26 | 11.14 | 11.83
2015-09-27 | 9.901 | 10.648
2015-09-28 | 9.763 | 10.301
2015-09-29 | 9.876 | 10.417
2015-09-30 | 10.258 | 10.634
2015-10-01 | 10.284 | 10.731
2015-10-02 | 10.577 | 10.768
2015-10-03 | 10.631 | 11.518
2015-10-04 | 10.088 | 11.087
2015-10-05 | 9.966 | 16.689
2015-10-06 | 10.13 | 22.005
2015-10-07 | 10.767
2015-10-08 | 11.008
2015-10-09 | 10.917
2015-10-10 | 11.648
2015-10-11 | 11.004
2015-10-12 | 10.538
2015-10-13 | 14.112
2015-10-14 | 19.896

## DGT1
Date | Coulter | Issaquah | Harris | May | Jenkins | Swamp
2015-07-08 |  | 16.297 | 13.8 |  | 16.021
2015-07-09 |  | 16.479 | 14.09 |  | 19.09
2015-07-10 |  | 15.304 | 13.549 |  | 18.292
2015-07-11 |  | 14.495 | 13.325 |  | 16.646
2015-07-12 |  | 15.09 | 13.65 |  | 16.046
2015-07-13 |  | 15.26 | 13.56 |  | 15.963
2015-07-14 |  | 15.222 | 13.315 |  | 15.674
2015-07-15 |  | 15.134 | 13.087 | 15.006 | 15.519 | 16.033
2015-07-16 | 13.171 | 15.538 | 13.28 | 15.223 | 16.028 | 16.364
2015-07-17 | 12.886 | 14.915 | 12.87 | 14.829 | 15.584 | 16.072
2015-07-18 | 13.229 | 15.551 | 13.41 | 15.383 | 16.167 | 16.822
2015-07-19 | 13.739 | 16.337 | 14.153 | 16.191 | 17.093 | 17.71
2015-07-20 | 13.733 | 16.159 | 14.06 | 16.115 | 17.114 | 17.471
2015-07-21 | 13.27 | 15.288 | 13.347 | 15.321 | 16.151 | 16.039 | 17.3333 | 34.6667
2015-07-22 | 12.704 | 14.911 | 12.899 | 14.91 | 15.703 | 15.507 | 21 | 21
2015-07-23 | 12.963 | 14.838 | 12.946 | 14.827 | 15.765 | 15.657 |  | 15
2015-07-24 | 12.831 | 14.233 | 12.699 | 14.413 | 15.178 | 15.184 |  | 14
2015-07-25 | 12.742 | 14.167 | 13.048 | 14.495 | 15.313 | 15.022 |  | 14
2015-07-26 | 12.224 | 13.869 | 13.192 | 14.25 | 14.695 | 15.535
2015-07-27 | 11.911 | 13.561 | 12.967 | 13.987 | 14.301 | 15.25
2015-07-28 | 12.348 | 14.365 | 13.252 | 14.546 | 15.021 | 15.954 |  | 110
2015-07-29 | 12.826 | 15.036 | 13.827 | 14.986 | 15.781 | 16.562
2015-07-30 | 13.058 | 15.451 | 14.136 | 15.416 | 16.236 | 16.928
2015-07-31 | 13.269 | 15.714 | 14.221 | 15.569 | 16.607 | 16.951
2015-08-01 | 13.18 | 15.74 | 14.087 | 15.545 | 16.658 | 16.769
2015-08-02 | 13.153 | 15.34 | 13.738 | 15.46 | 16.443 | 16.761
2015-08-03 | 13.413 | 15.329 | 13.907 | 15.62 | 16.42 | 16.898
2015-08-04 | 13.3 | 15.357 | 13.736 | 15.465 | 16.165 | 16.48
2015-08-05 | 12.718 | 14.333 | 12.785 | 14.436 | 15.259 | 15.049
2015-08-06 | 12.618 | 14.721 | 13.32 | 14.787 | 15.668 | 15.584
2015-08-07 | 12.612 | 14.589 | 13.419 | 14.714 | 15.456 | 15.671
2015-08-08 | 12.971 | 14.753 | 13.784 | 15.051 | 15.968 | 15.922
2015-08-09 | 13.079 | 15.499 | 14.265 | 15.266 | 16.372 | 16.37
2015-08-10 | 13.204 | 15.626 | 14.189 | 15.443 | 16.694 | 16.484
2015-08-11 | 13.279 | 15.574 | 14.043 | 15.536 | 16.591 | 16.466
2015-08-12 | 13.196 | 15.535 | 13.915 | 15.261 | 16.568 | 16.06
2015-08-13 | 13.518 | 15.534 | 14.273 | 15.507 | 16.523 | 16.534
2015-08-14 | 12.972 |  |  | 15.323 |  | 16.14
2015-08-15 | 12.645 |  |  | 14.958 |  | 16.376
Average | 12.9923 | 15.1661 | 13.5715 | 15.12 | 16.129 | 16.207

## DGT2
Date | Coulter | Issaquah | Harris | May | Jenkins | Swamp
2015-08-13 |  | 15.534 | 14.273 |  | 16.523
2015-08-14 |  | 14.555 | 13.627 |  | 15.828
2015-08-15 | 12.645 | 14.143 | 14.219 | 14.958 | 15.053 | 16.376
2015-08-16 | 12.41 | 14.332 | 13.759 | 14.728 | 15.141 | 15.928
2015-08-17 | 12.467 | 14.472 | 13.862 | 14.696 | 15.28 | 15.889
2015-08-18 | 12.766 | 14.75 | 14.09 | 15.029 | 15.715 | 16.225
2015-08-19 | 13.006 | 15.3 | 14.583 | 15.416 | 16.369 | 16.746
2015-08-20 | 13.111 | 14.969 | 14.069 | 15.179 | 16.339 | 16.087
2015-08-21 | 12.751 | 13.926 | 13.256 | 14.391 | 15.166 | 15.537
2015-08-22 | 12.102 | 13.54 | 12.867 | 13.826 | 14.368 | 14.825
2015-08-23 | 12.014 | 13.73 | 12.933 | 14 | 14.555 | 14.923
2015-08-24 | 11.918 | 13.844 | 12.865 | 13.998 | 14.584 | 14.674
2015-08-25 | 11.663 | 13.579 | 12.397 | 13.749 | 14.368 | 14.264
2015-08-26 | 11.903 | 13.644 | 12.586 | 13.889 | 14.533 | 14.701
2015-08-27 | 12.261 | 14.295 | 13.289 | 14.3 | 15.182 | 15.227
2015-08-28 | 12.601 | 14.532 | 13.476 | 14.622 | 15.736 | 15.586
2015-08-29 | 12.642 | 14.463 | 13.869 | 15.195 | 15.692 | 16.068
2015-08-30 | 12.88 | 14.056 | 14.535 | 15.697 | 15.096 | 16.291
2015-08-31 | 12.611 | 13.417 | 14.445 | 15.214 | 14.41 | 15.487
2015-09-01 | 12.625 | 13.4 | 14.402 | 14.98 | 14.356 | 15.251
2015-09-02 | 12.206 | 13.622 | 14.078 | 14.647 | 14.071 | 15.262
2015-09-03 | 11.144 | 12.633 | 13.338 | 13.611 | 13.012 | 14.506
2015-09-04 | 11.146 | 12.232 | 12.352 | 12.626 | 12.844 | 13.627
2015-09-05 | 10.614 | 11.71 | 11.96 | 12.265 | 12.543 | 13.042
2015-09-06 | 11.071 | 12.052 | 12.347 | 13.157 | 13.148 | 13.656
2015-09-07 | 11.613 | 12.896 | 13.082 | 13.888 | 13.941 | 14.102
2015-09-08 | 11.589 | 12.969 | 13.166 | 13.801 | 14.159 | 14.445
2015-09-09 | 11.87 | 13.458 | 13.286 | 13.991 | 14.774 | 14.9
2015-09-10 | 11.966 | 13.45 | 13.193 | 14.138 | 14.602 | 15.112
2015-09-11 | 11.939 | 13.658 | 13.509 | 14.262 | 14.895 | 15.238
2015-09-12 | 12.057 | 13.946 | 13.848 | 14.379 | 15.209 | 15.254
2015-09-13 | 12.136 | 13.563 | 13.435 | 14.052 | 14.963 | 14.798
2015-09-14 | 11.549 | 12.7 | 12.536 | 12.904 | 13.52 | 13.558
2015-09-15 | 10.405 | 11.973 | 11.981 | 12.391 | 12.875 | 13.085
2015-09-16 | 10.77 | 11.881 | 11.536 | 12.131 | 12.718 | 12.779
2015-09-17 | 11.343 | 12.414 | 12.192 | 12.923 | 13.51 | 14.879
2015-09-18 | 11.468 | 12.525 | 12.907 | 12.928 | 13.397
2015-09-19 | 11.961 | 12.905 | 13.442 | 13.44 | 14.066
2015-09-20 | 12.477 | 13.504 | 14.086 | 14.294 | 14.982
2015-09-21 | 11.904 | 13.15 | 13.415 | 13.358
2015-09-22 | 10.684 | 11.393 |  | 11.626
2015-09-23 | 10.202 | 10.982
2015-09-24 | 10.867
2015-09-25 | 11.224
2015-09-26 | 11.14
2015-09-27 | 9.901
2015-09-28 | 9.763
2015-09-29 | 9.876
Average | 11.7231 | 13.4309 | 13.3273 | 13.9661 | 14.5519 | 14.9508

## Elution
Sample ID | Bottle Weight | HNO3 | HNO3 + H2O
1CO810 | 6.19 | 7.102 | 12.08
2CO810 | 7.29 | 8.2 | 13.18
1IS811 | 6.36 | 7.25 | 12.22
2IS811 | 6.35 | 7.29 | 12.27
1HA812 | 7.46 | 8.39 | 13.38
2HA812 | 6.12 | 7.09 | 12.07
1MA813 | 7.29 | 8.25 | 13.22
2MA813 | 6.19 | 7.16 | 12.13
1JE814 | 6.06 | 7.03 | 12.02
2JE814 | 6.07 | 7.03 | 12.02
1SW815 | 6.07 | 6.96 | 11.96
2SW815 | 6.07 | 7.05 | 12.02
1CO910 | 6.22 | 7.14 | 12.13
2CO910 | 6.14 | 12.13 | 11.97
1IS911 | 6.1 | 6.97 | 11.93
2IS911 | 6.19 | 7.07 | 12.04
1HA912 | 6.09 | 7.01 | 11.98
2HA912 | 5.96 | 6.95 | 11.93
1MA913 | 6.14 | 7 | 11.99
2MA913 | 6.36 | 7.28 | 12.24
1JE914 | 6.22 | 7.22 | 12.2
2JE914 | 6.05 | 6.99 | 11.96
1SW915 | 6.11 | 7.02 | 11.96
2SW915 | 6.04 | 6.91 | 11.98
3CO619
4CO619
5CO619
1CO619 | 6.09 | 7.01 | 11.97
2CO619 | 6.09 | 6.94 | 11.91
6CO619 | 6.06 | 7.01 | 11.91

## Dilution
Sample ID | Bottle Weight | HNO3 | HNO3 + H2O
1CO810D | 8.44 | 15.48 | 18.51
2CO810D | 8.5 | 15.5 | 18.59
1IS811D | 8.45 | 15.42 | 18.52
2IS811D | 8.47 | 15.5 | 18.59
1HA812D | 8.45 | 15.54 | 18.6
2HA812D | 8.51 | 15.55 | 18.61
1MA813D | 8.46 | 15.47 | 18.59
2MA813D | 8.47 | 15.49 | 18.56
1JE814D | 8.44 | 15.5 | 18.6
2JE814D | 8.44 | 15.45 | 18.54
1SW815D | 8.5 | 15.6 | 18.69
2SW815D | 8.48 | 15.55 | 18.6
1CO910D | 8.58 | 15.57 | 18.69
2CO910D | 8.47 | 15.46 | 18.59
1IS911D | 8.46 | 15.48 | 18.56
2IS911D | 8.5 | 15.49 | 18.57
1HA912D | 8.44 | 15.5 | 18.58
2HA912D | 8.41 | 15.36 | 18.49
1MA913D | 8.46 | 15.56 | 18.65
2MA913D | 8.46 | 15.43 | 18.53
1JE914D | 8.47 | 15.52 | 18.27
2JE914D | 8.5 | 15.56 | 18.46
1SW915D | 8.48 | 15.44 | 18.17
2SW915D | 8.47 | 15.52 | 18.23
3CO619D | 8.51 | 15.56 | 18.78
4CO619D | 8.45 | 15.42 | 18.55
5CO619D | 8.51 | 15.56 | 18.62
1CO619D | 8.47 | 15.5 | 18.42
2CO619D | 8.52 | 15.58 | 18.56
6CO619D | 8.52 | 15.49 | 18.47
Dilution Blank | 8.5 |  | 18.5